# Ventix Nexa Series – Complete Naming Catalog

# Series Concept

Name: Nexa (Next / Nexus)
Vibe: Futuristic, high-tech, engineered
Focus: Clean, healthy air; precise airflow; protective; advanced controls; DH/DE dehumidification

# 1️⃣ Vertical Units (V)

| Model | Classroom Size | Feature Description |
| --- | --- | --- |
| V-Nexa 20 | Small | Standard airflow, energy-efficient |
| V-Nexa 30 | Medium | Whisper-quiet, high-quality filtration |
| V-Nexa 50 | Large | Maximum airflow, advanced filtration |
| V-Nexa 30-X | Medium | Virus-protective, HEPA / UV optional |
| V-Nexa 30-DH | Medium | Heat pipe dehumidification |
| V-Nexa 30-DE | Medium | Electric dehumidification |
| V-Nexa 30-IQ-D | Medium | Smart sensors, DX system |
| V-Nexa 30-IQ-V | Medium | Smart sensors, VRF system |
| V-Nexa 30-IQ-H | Medium | Smart sensors, Hydronic system |
| V-Nexa 30-S | Medium | Packaged / standalone controls |

# 2️⃣ Horizontal Units (H)

| Model | Classroom Size | Feature Description |
| --- | --- | --- |
| H-Nexa 20 | Small | Standard horizontal airflow, energy-efficient |
| H-Nexa 36 | Medium | Whisper-quiet, clean air focus |
| H-Nexa 50 | Large | High airflow, advanced filtration |
| H-Nexa 36-X | Medium | Virus-protective, HEPA / UV optional |
| H-Nexa 36-DH | Medium | Heat pipe dehumidification |
| H-Nexa 36-DE | Medium | Electric dehumidification |
| H-Nexa 36-IQ-D | Medium | Smart sensors, DX system |
| H-Nexa 36-IQ-V | Medium | Smart sensors, VRF system |
| H-Nexa 36-IQ-H | Medium | Smart sensors, Hydronic system |
| H-Nexa 36-S | Medium | Packaged / standalone controls |

# 3️⃣ Feature / Control Suffix Guide

| Suffix | Meaning |
| --- | --- |
| -X | Advanced virus protection / HEPA / UV optional |
| -DH | Heat pipe dehumidification |
| -DE | Electric dehumidification |
| -IQ-D | Smart sensors, DX system |
| -IQ-V | Smart sensors, VRF system |
| -IQ-H | Smart sensors, Hydronic system |
| -S | Packaged / standalone controls |
| Default | Standard clean-air, energy-efficient |

# 4️⃣ Notes & Benefits

- Naming Structure: [V/H]-Nexa [Size]-[Suffix]
- Vertical / Horizontal: Clear differentiation for spec sheets
- Features: Engineers/specifiers can quickly identify airflow, protection, smart controls, HVAC type, and dehumidification
- Expandable: Easy to add new suffixes, features, or models in the future
- Professional & Clean: Short, punchy, memorable, and high-tech